A Project Report

On

Microbiological and Chemical Analysis of

Milk and Milk Products

Submitted To

Gyani Inder Singh Institute Of Professional Studies

Dehradun

B.Sc. BIO.TECHNOLOGY WITH CBZ

By:

Miss Hema Chandola

Department of B.Sc.Bio.technology

Gyani Inder Singh Institute Of professional Studies,

Dehradun, Uttrakhand

KNOWLEDGEMENT

I feel pleasure in expressing my profound sense of gratitude and indebtedness to Mother Dairy Organization who has me the authority to get training under them.

I am highly oblige to Mr. U.C.Chopra Head Of the Mother Dairy Food Processing Ltd. Patparganj Delhi, to arrange for my training in their esteemed organization.

I am grateful to Mr.R.K.Gupta, Manager Quality Assurance and Quality Control of Mother Dairy Test Laboratory and Mr. S.K.Mittal, Assit. Manager Doc Laboratory, for their constant moral support during the tenure of training.

I express my heart-left gratitude to my guide Mr. R.P.Verma Microbiologist and Mr. C.M.Lal Sr. Officer whose unique guidance, all embracing help, valuable suggestions and encouragement have enabled me to complete this task which would not have been a success without them.

I also thank all the workers of QA-QC laboratory who really showed co-operation and support.

Last but not the least I with due respect pay my regards to My Parents and Almighty God who has been the source of motivation, strength and support, which led me to attain success.

HEMA CHANDOLA

Contents

- aBOUT MOTHER DAIRY

- FUNDAMENTAL KNOWLEDGE OF MILK

- MILK SAMPLING & PROCESSING

- MAIN LABORATORY TESTING

- Chemical analysis

- MICROBIOLOGICAL ANALYSIS

- product specification

NATIONAL DAIRY DEVELOPMENT BOARD (NDDB)

The National Dairy Development Board (NDDB) was designed in 1969 on Anand Dairy Cooperative outlines of creating district cooperative of milk producers at village level which aim at collection of whatever amount of milk they produce and payment to them according to the quality of milk they supply. Then this milk is processed and supplied to the people at metropolitans and other cities at nominal charges.

For about 5 yr., NDDB was dormant till the time they received presents of Whole Milk Powder and Butter Oil from European Union and came into action with the help of Indian Dairy cooperation.

Operation flood was started in 1970 under the guidance of Dr. Kurein, Chairperson NDDB, Anand and Mr. Jamnadas Patel in Khera, Gujarat. The objectives of Operation Flood are:

- To buy the milk from the farmers and villagers as much milk as they could supply at reasonable prices and keep the price of milk stable whole year.

- To operate, procure, process and market milk and milk products.

- Production of good milk after its qualitative and quantitative estimation.

- System to eliminate middleman.

- Providing technical inputs and services to yield of milk animals.

- Organizing an efficient transport system to collect milk from villagers.

- Set up of balancing dairies and storage system to convert excess milk to milk powder and butter oil.

- Train personnel to plan and manage the system as well as operate the services described.

- To meet out these objectives, NDDB started dairy plants all over India and Mother Dairy was one of them. It was set up in 4 major cities at Delhi, Mumbai, Chennai and Kolkata.

Operation flood was a major dairy development program. Funds were generated by the sale of dairy commodities donated by the World Food Program (FAO-UN) which assisted project to carry out its mission.

This included establishing dairy cooperatives in rural milk sheds, setting of animal husbandry units, constructing modern dairies in cities, organizing storage and long distance transportation and project planning with manpower development. The first phase of operation flood was completed in 1979, followed by second phase (1979-1988), assisted by European Economic Community. Its third phase ended in 1996.

Mother Dairy PROFILE

Mother Dairy was set up under the operation flood project on second December 1974. It is equipped with latest technology. Products are prepared as per the PFA standards.

The dairy was established on behalf of the Govt. of India, Ministry of Agriculture (Dept. of Animal Husbandry and Daring). Mother Dairy is being managed by NDDB as a subsidiary unit retaining its independent character.

For the purpose of managing the dairy NDDB appoints managing committee. All the policy matters decided by the management committee but the execution of all the policy decision and management of dairy rests with General Manager.

QUALITY ASSURANCE

Mother Dairy follow a strict system of quality assurance to maintain a high quality of milk provided to the consumer. Every batch of incoming milk is tested for Fat, SNF, Acidity and bacteriological quality, adulterants and presence of any preservative or neutralizer which are not permitted by the law. The outgoing milk is also checked for bacteriological and keeping quality besides Fat and SNF.

QUALITY POLICY

Our commitment is to excellence. The evolving needs of our customers drive our continuous innovation in product development, application of state-of-the art technology and selection of appropriate processes to be used by our employees and our vendors. To ensure that we are second to none:

- We maintain a vibrant work environment that encourages excellence.

- We empower our people that lead to continuous improvements in our processes and systems.

- We choose such processes that ensure quality at competitive price while protecting the environment, in which we work and live.

- We apply HACCP (Hazard Analysis Critical Control Points) principles for safety of our products to customers.

We shall constantly strive to be leaders in the dairy industry in Delhi, in India and in the World.

ENVIRONMENTAL POLICY

We are committed to be a leader in Dairy Industry in India by being a benchmark in environment protection.

We shall continue to improve our environmental performance by :-

- Adopting processes, procedures and systems for clean production, pollution prevention and continual improvements in all our activities.

- Optimizing resource utilization including energy and water.

- Complying with applicable environmental regulations and legislation.

- Continuing distribution of milk through environment friendly vending systems.

- Maintain green environment through horticultural activities.

- We pledge ourselves towards providing quality and safe products under clean and hygienic environment.

Mother Dairy also has HACCP certification as per ISO 15000: 1998

National Accreditation Board For Testing And Calibration Laboratories (NABL), MDTL, Delhi has been accredited to Mother Dairy on the basis of its compliance to NABL – criteria which are based on Chemical Testing Discipline. This accreditation is valid for a period of 3 years.

Products

NDDB has also set up an oil storage unit by the name of edible oil tank farm (EOTF) in this area which has a capacity to store 50000 MT TONNES of mustard oil. Adjoining this is also an oil lab notified by the govt. of India that do the job of testing of oil at the time of purchase and dispatch. It aims at providing the farmers the nominal charges for their oil produce according to its quality and to prevent hoarding of oil by private people.

Mother Dairy has also set up an ice cream plant (ICP) about 5 years back. Through ICP Mother Dairy markets the ice cream in and around Delhi at nominal charges and in varied flavors. Mother Dairy also markets Safal frozen vegetables, Verka, Parag, etc.

Mother Dairy has obtained the International std. Certificate issued by International Organizations of Standards (ISO) for its 23 years service, it’s the first in Indian food sector to

MOTHER DAIRY VISION

With total commitment and teamwork, we at Mother Dairy shall strive to delight our customers with quality products and services.

We shall create an environment where employees feel happy to work.

Through innovation, consistent learning and continuous improvement, we shall achieve sustained growth and excellence and provide remunerative returns to farmers and other stakeholders.

MOTHER DAIRY MISSION

“We are the market leader in fluid milk in Delhi. Our mission is to retain the leadership and further serve our customers in and around Delhi by providing quality milk and select dairy and food products.

We shall strive to delight our customers by providing regular and timely services at convenient points under clean and hygienic conditions, with a product mix for different income segment. We shall create an environment of commitment and teamwork where employees feel happy to work.

By innovation, continuous improvement, training and development and most efficient use of resources we shall achieve consistent and sustained growth and provide remunerative returns to farmers and other stakeholders.”

Mother Dairy has received the ISO 9002 certificate in 1994 for the quality of its food products.

## Fundamental knowledge of Milk

Milk is the secretion derived after complete milking of healthy milk animal, excluding that obtained within 15 days before or after 10 days of calving.

Composition of Milk

- Milk Fat

Milk fat is the mixtures of 19 fatty acids. The bulk of fat in milk exist in the form of small globules with size approx. 0.1 to 22microns. It is an oil-in-water type emulsion.

- Proteins

Protein is the most complex organic substances. They are vital for living organisms as they constitute an indispensable part of the individual body cell. The protein of milk consists of Casein, Lacto globulin and Lacto albumin. It is in colloidal state. Casein is only found in milk. It is easily coagulated by heat treatment.

- Water

It provides the medium in which all the milk constitutes are either dissolved or suspended. Most of it is free and only a small portion is in bound form, being firmly by protein and phospholipids.

- Lactose(Milk Sugar)

It is found only in milk. It exist in true solution phase and is fermented by bacterial to yield lactic acid. It is very important for cultured milk products. It can also cause souring in milk and its products.

- Mineral Matter:

Although it is present in small quantity, it is very essential for human body. These are mostly salts like Mg, Na, P, N etc. It influences physio-chemical properties of milk and also affects the nutritive value.

- Phospholipids:

There are three types of phospholipids (Lecithin, Cephalic and Sphingomylein). Lecithin is important constituent as it helps in the formation of outer membrane of fat globules.

- Pigment:

There are two type of pigment present in milk, Fat Soluble and Fat insoluble. Carotene is fat soluble and is responsible for the yellow color of milk. The other two are Xanthophylls and riboflavin. Carotene also acts as an anti oxidant and as a source of Vitamin A.

- Milk Enzymes

The important milk enzymes and their specific action are as follows:

-	Anise (diasterase)	Starch

-	Lipase			Fat splitting, leads to rancid flavor

-	Phosphatase		It is capable of splitting certain phosphoric esters.

-	Protease		It is capable of splitting proteins.

-	Catalase 		decomposed hydrogen peroxides.

09.	Vitamins

Vitamins are present in minute quantities in milk or any other food but play a very important role in vital functioning of human body. There are 25 vitamins present in milk. These are fat soluble e.g. Vit. A, D, E,K. apart from fat soluble there are water soluble vitamins as B-complex(B1, riboflavin or B2, pantothenic acid, niacin, pyridoxine or B6.)

Role of milk in human life

Milk is one of the most complete food available in nature for human consumption. Milk contains all nutrients in balanced proportions to meet the demand of humans. It is not only necessary for children but it is every essential for adults too. Milk proteins are one of the most high quality proteins. It is essential proper growth of body. Casein, the milk protein, is only found in milk.  Milk contains lactose (milk sugar) which is only found in milk and on hydrolysis gives galactose and glucose. Lactose on fermentation gives butter, cheese and dahi, which have high nutritive value and thus is very important for human life.

- 1 Liter of Cow’s milk gives 720 Calorie (3000J) of energy.

- 1 Liter of Buffalo’s milk gives 1100 Calorie (4600J) of energy.

- 1 gm of milk fat gives 9 Calorie of energy.

- 1 gm of Protein gives 4 Calorie of energy

- 1 gm of Carbohydrate gives 4 Calorie of energy

Most milk is composed of 80 to 90 percent water. The remaining 10 percent consists of an abundance of the major nutrients needed by the body for good health, including fats, carbohydrates, proteins, minerals, and vitamins.

Cow milk typically contains about 3.5 to 5 percent fat, which is dispersed throughout the milk in globules. In addition to providing milk’s characteristic taste and texture, fat supplies vitamins A, D, E, and K, as well as certain fatty acids that the body cannot produce on its own.

Lactose, a kind of sugar found only in milk, gives milk its sweet taste. Making up about 5 percent of milk’s content, lactose is a carbohydrate that is broken down by the body to supply energy. Infants digest lactose easily, but many adults, especially those of Asian and African ancestry, have lost some of their ability to digest this sugar. When these adults drink milk, they often suffer gastric distress and diarrhea.

The most important protein in milk is casein, accounting for 80 percent of milk protein. Casein is a complete protein, meaning that it contains all of the essential amino acids, which the body cannot manufacture on its own. Casein molecules and globules of fat deflect light rays passing through milk, giving milk its opalescent appearance. Other proteins present in milk include albumin and globulin.

Milk contains many minerals, the most abundant of which are calcium and phosphorus, as well as smaller amounts of potassium, sodium, sulfur, aluminum, copper, iodine, manganese, and zinc. Milk is perhaps the best dietary source of calcium—one liter (about 1 qt) of milk supplies as much calcium as 21 eggs, 12 kg (26 lb) of lean beef, or 2.2 kg (5 lb) of whole wheat bread. Milk is an excellent source of vitamins A and B2 (see riboflavin). All other vitamins are present also, but in lower doses. Vitamin D is typically added to commercially sold milk. Vitamin A, which is found in the globules of fat, is removed when fat is skimmed away to make low-fat or skim milk. Generally, vitamin A is replaced during the production of commercially sold low-fat milk.

##### Milk-Processing

Unprocessed milk may contain small dirt particles invisible to the naked eye. In order to remove these particles the milk has to be processed.

In any kind of industry various processes are undertaken to process the raw materials to obtain the final product. So each such process can be divided into discrete steps which when undertaken one by one lead to the complete process.

In our case at Mother Dairy, the process is to process the raw milk in the required standard conditions and to reach the final processed milk at the desired standards. The milk processing plant at the Patparganj unit is engaged in receiving any kind of the raw milk from the state dairy federations and processes it to produce Toned Milk, after doing the pasteurization. The standards for the processed Toned Milk are as follows:

- Fat contents:					3.05%

- Solid non-Fat contents:			 8.58%

- Temperature:					2-40C

- Methyl blue re-coloration (MBR) time:  	4 hours (minimum)

Before reaching the final state the raw milk is subject to various processes shown below:

FLOW AND PROCESSING OF MILK:

RAW MILK RECEPTION: - This is the first stage of the milk processing. In this                                                          stage the raw milk being received from the dairy federation tankers/ milk being received from distant federations by the rail route, milk prepared at the dairy plant after reconstitution/ high fat processing is chilled and stored in the Raw Milk Silos. When a Silo is full, then a sample is taken in the process lab and is tested for its constituents.

# Mother Dairy Plant Specification

| ###### Equipment | ###### Number of unit installed |
| --- | --- |
| Pasteurizer | 05 |
| Homogenizer | 05 |
| Clarifier | 06 |
| Silos | 14 |
| Ice Silos | 02 |
| Raw milk Silos | 05 |
| Processed milk silo | 07 |

### Platform Tests

|  | Check for cleanliness First of all cleanliness of containers is checked and appropriateness of seal is also checked. |
| --- | --- |
|  | Presence of foreign matter The milk is taken, filtered and seen for presence of any foreign matter. Physical condition of milk is also noted from top i.e. for presence of any flies. |
|  | Temperature Temperature of milk is then tested and should not be greater than 10°C |
|  | Organoleptic evaluation Check., taste and flavor of milk |
|  | COB test Conduct COB test by taking about 2 ml milk in a test tube, boil on the flame of a spirit lamp formation of clots in the test tube indicates COB positive milk and is unacceptable. |
|  | Acidity Test Taking 10 ml milk in 10 ml conical flask. Titrate against N/10 NaOH using phenolphthalein indicator to check acidity. Acidity above .153% is not acceptable or use acidometer for titrable acidity. |
|  | Rosalic Acid Test To 2 ml rosalic acid in a test tube add 2 ml of milk . Rose red color development indicates neutralizer presence in milk and formation of flakes indicates disturbed salt balance. |
|  | Alcohol Alcohol test is done to know the quality of milk. To 2 ml milk in a test tube add 2 ml 68% alcohol. The presence of flakes indicates alcohol positive and such milk is rejected. The alcohol test determines the susceptibility of milk to coagulation due to developed acidity, salt unbalance or high albumen content. |
|  | Fat & SNF Fat & SNF can be determined using Gerber’s method or using a milcoscan. SNF can also be determined using lactometer reading and Fat value and putting the formula CLR/4 +Fat x .2 + .29 Milkoscan is the latest technology machine for scanning of milk and uses infra red rays to analyze the milk for - Fat - Protein - Lactose - SNF |
|  | #### MBRT Test To 10 ml of milk in a sterilized MBR tube add 1 ml of MBR dye Plug with a sterilized cork, invert the tube to mix the contents and incubate at 37°C in a water bath. Check the tube for decolorization just after 10 minutes Next time after 30 minutes and subsequently every hour. Milk with MBR time of less than 10 minutes is unacceptable. |
|  | Test for presence of urea Take 2 ml milk in a test tube add 2 ml DMAB solution and mix the contents. Appearance of yellow color indicates the presence of urea making the milk unacceptable. |
|  | Sugar test Take 3 ml of milk add 5 ml dilute HCL(1:2 containing resorcinol 0.1 gm resorcinol dissolved in 100 ml dilute HCL) Mix well and keep the test tube in boiling water for 5 minutes. Brick red color formation indicates sugar positive. |
|  | Starch Test Take 3 ml milk in a test-tube, boil and cool under tap water. add 2 drops of 1% Iodine solution. Appearance of blue color indicates the presence of starch. |
|  | Salt test Take 5 ml of silver nitrate (0.134%) solution in a test tube and ad 2 drops of potassium dichromate (10%) solution. It will give brick red color. To this add exactly 1 ml of milk and mix. Observe the color if yellow color appears then it shows salt test positive. If not then the salt test is negative. |
|  | B.R. Reading Extract ghee from milk by centrifuging about some milk in centrifuge for 5 minutes and creamy layer is separated and melted and heated and ghee is prepared. Put few drops of melted ghee on clean prism of butyro-refracto-meter and close it gently. Allow it to stand for 1 minute. Note down the reading at 40°C. If B.R. reading comes in the range of 40 to 45 then only milk is accepted otherwise rejected. After use clean the prism with rectified spirit. |
|  | Mineral oil test (holders test) Take 1 gm of ghee extracted from milk in a 250 ml conceal flask and to this add 22 ml alcoholic KOH and keep the flask on boiling water bath or hot plate and saponify it till there is no oil droplets. To this add 25 ml boiling distilled water and swirl the flask. Development of turbidity indicates the presence of mineral oil. Such milk is unacceptable. No turbidity indicates absence of mineral oil. |

MAIN LABORATORY TESTING

# For collecting samples allow cotton soaked in alcohol on the sampling cock to sterilize it. Allow approximately 2 litters of milk to flow into bucket then collect the sample in sterilized sample bottle.

- Fat & SNF

Fat & SNF of milk is tested for each batch for each silo milk for standardization purpose and also for finished milk so as to ensure that milk is ready for dispatch.  Fat and SNF is tested using a milcoscan. The temperature of the sample should be 40+-2 degree centigrade. It is a latest technical machine for scanning of milk and uses I.R rays to analyze milk for Fat, SNF, Protein, Carbohydrate, TS.

- Homogenization efficiency

- Draw milk sample from outlet valve and note the homogenization pressure.

- Take 10 ml milk in centrifuge and see for any fat separation

- If doubtful, prepare a slide and observe under micro scope the  size of fat globule should not be more than 2 microns

- In case unsatisfactory, the matter and cause is seen into.

- Phosphatase test

Principle	Raw milk contains phosphatase enzyme. It destroyed when the heat treatment (pasteurization) of milk is done. But when the milk containing phosphatase is incubated with p–nitro phenyl disodium orthophosphate, the liberated para-nitro phenol gives yellow color under alkaline condition of the test. The yellow color indicates the presence of phosphatase and that the milk has been contaminated after the heating process by raw milk.

Procedure:

- Draw milk sample from the silo in a clean sterile sample bottle.

- Take 1 ml of milk in each of the two sterilized MBR test tube.

- Heat One Tube to boil to act as control sample.

- Add 5 ml of Phosphatase dye in each Tube and mix well.

- Incubate at 37°C in water bath, observe the color after 10 minutes, 30 minutes and finally after two hours. Yellow color indicates positive test result.

Phosphatase dye:

Dissolve 0.15gm of p-nitro phenyl disodium orthophosphate salt in 100ml of buffer solution.

Buffer solution: Dissolve 3.5gm of sodium carbonate and 1.5gm of sodium bicarbonate to make 1liter of solution in distilled water. Keep the buffer solution in cool place.

    - METHYL BLUE REDUCTION TEST (MBRT)

Principle:  	This test is based on the principle that methyl blue (an oxidation-reduction dye or indicator) which is blue in its oxidized state, is reduced to colorless compound (leuco form) as a result of the metabolic activities of bacteria in milk. When a solution of dye is added, the organisms present in milk consume the dissolved oxygen and lower O-R potential to a level where methyl blue or similar indicators are reduced or decolorized.

Procedure:	Take 10 ml of milk in a sterilized MBR tube. Add 1 ml of MBR dye. Plug with a sterilized cork. Invert the tube to mix the contents and incubate at 370C in a water bath. Check the tube for de-coloration first after 10 minutes and subsequently every hour milk. For pasteurized milk time should be 5 hrs or at least 4 hrs. Whereas for raw milk time is 30 min.

## Keeping quality of milk

Keep milk samples of first and final testing in sterilized 125 ml  glass bottle in incubator at 37°C.Note the time. Check for COB after 3 hrs first and then every hour till it becomes COB positive.  Note down the % TA.  Note total hours taken for milk to become COB positive. Observe for any abnormality such as cream layer, fat or powder separation

## Titrable acidity

Take 10 ml milk sample to it add 10 ml distilled water add Phenolphthalein and titrate against N/10  NaOH .

Acidity% = titrate value x.09

Titrable acidity of milk from PM silo should not be greater than .14.

- COB

Take 2 ml milk in a test tube and kept in a boiling water bath for 5 min. The formation of curd indicates the poor heat stability and hence the positive COB test.

## Neutralizers

To 2 ml Rosalic acid in a test tube add 2 ml of milk. Rose red color indicates neutralizer   present in milk and formation of flakes indicates disturbed salt balance. The neutralizer test results of processed milk should be negative so as to ensure that there is no misappropriation or mishandling during processing.

After ensuring that fat percentage is 3.05 and SNF 8.58 minimum and all other tests are giving satisfactory results the milk is send or marked for dispatch.

##### Procedure for Final Inspection & Testing of Milk

- Samples are drawn from filled dispatch tankers parked in the hard parking bay.  Normally temperature of milk in tanker is checked from the sample drawn from delivery valve.  If temperature is found more than 7°C it is confirmed by taking sample from the top.  Sample of few tankers is checked from top also for observation, temperature and MBR.

- The sample are tested for neutralizer test and for fat and SNF.  If sample meets the requirements, the tanker is accepted and recorded.  Few tankers are also tested for MBRT and if the MBRT of a tanker is found to be less than 4 hrs, milk of tanker is called back from retain outlets.

- If it fails to meet Mother Dairy dispatch standards, the tanker is rejected and shift in charge is informed.

- The system is so made that weighment of milk for dispatch is done only when the test results are found correct so as to ensure that quality milk leaves Mother Dairy.

(1) Regeneration-I :  The milk is pumped to the balance tank from there the milk is pumped to regeneration-I wherein it gets heated to about 40-45°C because of outgoing milk and hence reducing its temperature.  Regeneration system helps in energy saving both for heating as well as cooling milk

# (2) Clarification: Clarification is the process of removing suspended foreign by      centrifugal sedimentation – clarifies are used for this purpose.

(3) Regeneration-II The milk from clarifier is sent to regeneration-II wherein the milk is further heated by the pasteurized milk hence raising the temperature of incoming milk and reducing the temperature of outgoing milk and also regeneration-II raises the temperature of milk so as to enable efficient homogenization which is the next step.

(4) Homogenization: - Homogenization is a process wherein fat globules are broken down to 2 microns or less under high pressure Homogenizer is a machine which causes sub-diversion of fat globules.  It consists of a high-pressure piston pump that forces the milk and thereby subdivided into smaller particles of more uniform size.

Effect of homogenization

The fat globules of milk are surrounded by a membrane 5-10 mm thick.  The membrane has properties of an emulsifier and keeps the emulsion, milk stable. During homogenization the original membrane is destroyed and the first result is a rise in interfacial tension soon falls again. The new emulsion therefore remains stable even after homogenization.

Homogenization effect is produced by three collaborating factors:

(a) Passage through the narrow gap in the homogenizer head at high velocity subjects the fat globules to very powerful shear forces, which deforms elongate and shatter the spherical globules.

(b) The acceleration of the liquid in the gap is accompanied by a pressure drop.  This creates cavitations in which the globules are subjected to powerful implosive forces.

(c) Further shattering takes places when the fat globules impact at high velocity in the homogenizing head.

| Make | APV GAULIN |
| --- | --- |
| Capacity | 18000 LPH |
| I Stage Pressure | 1800-2400psi (140 bar) |
| II Stage Pressure | 500-700psi (14bar) |
| Motor | 125 HP |

(5) Pasteurization:.  Here milk is heated using plate-heat chiller to a temperature of 76-78°C and the temperature   should not be less than 75°C so as to ensure proper pasteurization and not greater than 79°C so as to ensure that overheating has not taken place as overheating may harm the nutrients present in milk.  Pasteurization of milk is done with the help of hot water.  The water in a small tank is passed through a heater steam wherein the water is heated using steam.  The hot water is then passed through PHE to heat up milk to the desired temperature.  After the milk is heated the milk pass over to the holding section wherein it pass for 15 seconds at that temperature.  The temperature of the outgoing milk is transmitted with the help of a temperature transmitter, which is connected to temperatures indicating controller, which controls the flow of steam according to the temperature.  If the temperature is too high it limits steam injection in heater and if too low the steam level is enhanced through a system of pneumatic valves.

The milk then passes through the flow diversion valve which decides the forward or deflected flow of milk.  If the temperature of milk is below 75° C the FDV diverts the flow of milk to balance tank and if above 75°C the forward milk flow is maintained.  But by continuous monitoring it is ensured that the temperature is maintained at 76-77°C.  At the same time it is also seen that the temperature do not exceed 79°C and according to the fluctuation the steam injection is controlled.  From the pasteurization section milk flows to regeneration II and then regeneration I and finally chilling.

(6)   Chilling:	Here milk is finally chilled to 4-5°C using chilled water which are being pumped from ice silos.  The chilled water temperature ranges from 1.5 - 3°C and chilled milk temperature from 4 - 6°C.  If the chilled milk temperature exceeds 9°C the milk will be again circulated through the systems so a temperature transmitter continuously displays the temperature on monitor so that continuous monitoring can be done and if temperature raises continuously the refrigeration section take necessary action in this regard so as to reduce the temperature.  After chilling, milk is pumped to the silos.

### (7) Vitamin A addition:

Toned milk during processing is fortified with vitamin A. Vitamin A addition is done using vitamin A acetate. Vitamin acetate is added in the balance tank for each shift.  The amount added is 180 ml of vitamin A acetate in one lakh liters of milk so that the milk contains 2000 IU of vitamin A.

### (8) Standardization

The milk, which reaches the raw milk silos, is of different fat and SNF composition.  Normally raw milk silo 1, 2, 3 contains mixed milk and 4 & 5 comprises of skim milk which may contain different proportion of fat and SNF.  Now to obtain toned milk of 3% fat and 8.5% SNF different proportion of milk from different silos is calculated and processed and are directed to processed milk silos.  For this first total amount of batch of milk is determined or fixed and amount of SNF and fat requirement for this batch is calculated.  Now amount of mixed milk and skim milk is processed and diverted to processed milk silos and now the remaining quantity i.e. quantity decided is made up using chilled UV water directly into the process milk silo hence obtaining a batch of appropriate fat and SNF values.  For complete mixing of different batches of milk, agitators are provided.

Now after this sample is drawn from PM silo and tested for fat and SNF and if found unsatisfactory it can be again corrected using calculated amounts of water or skim milk. After assuring that the fat and SNF valves are up to the mark silo is marked for dispatch.

### (9) DISPATCH

After the fat SNF and quality testing of PM silo is done and the quantity is full, the Silo is marked for dispatch.  Before dispatch milk is pumped over to glycol chillers and the milk is chilled to 2°C in glycol chillers.  Here instead of chilled water, chilled glycol of approximately –0.5°C is passed into the chillers.  The chilled milk is then filled in tankers and the tankers then go to the milk vending shops for sales.

Cleaning in place (CIP) system

Containers and machines working on milk are subject to the gradual growth of bacteria with the passage of time. So in order to ensure the proper processing of milk is done and no bacteria passes to the processed milk the milk containers i.e. the silos and the plants have to be cleaned after eight hours of use with milk. So in order to ensure proper cleaning a proper CIP plant is required. This plant is used to clan the silos and the plants in their own place. Further the CIP process is dependent on the type of the machine/container and there are only slight variations to the general procedure.

The cleaning process in general contains the following steps:

FLUSH WITH FRESH WATER TO RECOVERY

FLUSH TO DRAIN WITH RECUP WATER

LYE RINSE

FLUSHING WITH HOT WATER

ACID RINSE

FLUSHING WITH HOT WATER

STERILISATION WITH HOT WATER

FLUSH WITH

FRESH WATER TO RECUP TANK

QA & QC LABORATORY

CHEMICAL ANALYSIS

- MILK POWDER

- On arrival of powder, draw sample from store godown

- Note down the source, batch number, date of manufacture and bag number from which sample is drawn

- With the help of store staff keep six bags, possibly of different batches from each truck, one bag after unloading 70 bags

- Open the bags carefully and take a composite sample of the truck from all the six bags in polythene bags/bottles.  Also take one bacteriological sample

Powder specification

|  | SMP | WMP |
| --- | --- | --- |
| Fat% | 1.5 (max.) | 26.0 (min.) |
| Moisture | 4.0 (max.) | 4.0 (max) |
| Insolubility index | 2.0 (max.) | 2.0 (max) |
| Rosalic acid | negative | negative |
| Ash | 8.2 (max.) | 7.3. (max.) |
| T.A | 1.5 (max.) | 1.2 (max.) |

TESTS

- Moisture %

- Using infrared moisture analyses.

#### Procedure

- Switch on the instrument.  Light will start blinking in start key.

- Press on/off/zero bar.  Screen will display weight.  Reset zero by pressing the re zero bar, the balance is ready for worker.

- Set the temperature and time

SMP - 6 min.  - 100 C

WMP - 6 min. - 100 C

To set the temperature, press the key showing thermometer and the temperature will be displayed.  The required temperature can be adjusted by pressing key up or down, then enter for time press the key indicating watch and set the required time, and then enter.

- Open the top of the instrument and spray powder on the pan evenly distributed till the balance achieves the 5 Gms weight of powder and close the top.

- Press ‘start’. The balance will show zero.  After completion of time start key will start blinking and the balance will display the percentage of moisture.

- Titrable Acidity

Material required:  100 ml beaker, 10 ml pipette, glass rod, and phenolphthalein indicator, N/10 NaOH

#### Procedure:

Weigh accurately 1 gm of the sample in a 100 ml beaker.  Add 10 ml of hot distilled water and make a solution using a glass rod. Cool to room temperature.  Add 1 ml phenolphthalein indicator and titrate against N/10 NaOH till a faint pink color persists.

Result: - The acidity present as volume of TA% = (NAOH used x 0.9)

- Fat:   Gerber Method

It is a common method of determining the fat content of milk

Reagents: - Sulphuric acid (1.0 - 1.812 specific gravity)

Amyl alcohol (0.85 specific gravity)

#### Procedure:

1.69 gm of milk powder is weighed accurately and dissolved in minimum amount of home-distilled water.  It is then carefully added to the 10 ml concentrated Sulphuric acid in a milk powder butyrometer so as not to allow mixing of milk with acid.  Add 2 ml amyl alcohol to it and close the butyrometer.  Mix the contents until all curd has been digested.  Transfer the butyrometer in the water bath at 65 C for 3 min.  Place the tube in the centrifuge at 1100 rpm for 5 min.  Transfer the butyrometer in the water bath at 65 C for 5 min. Adjust the fat column with the scale of butyrometer and note the reading.

- Rosalic Acid test:

Take 2 ml rosalic acid (0.05% in 60:40 alcohol in distilled water) in a test tube.  Add 2 ml reconstituted powder.  Rose red color indicates neutralizer presence in powder and formation of flakes indicates alcohol test positive.

- Scorched particles:

Observe the bottom of the flask in which powder is reconstituted after keeping undisturbed for some time.  Filter the reconstituted milk through scorched particle tester and compare the filter pad with ADMI comparison card.  Powder with scorched particles more than disc B reading is rejected.

- Ash Content

Weigh 3 gm of powder in a well-dried silica crucible and heat on a heater till no smoke comes out of powder.  Keep it into a muffle furnace maintained at 550 + 20 C for 3 hrs till grey ash formation.  Switch off and transfer to a desiccator.  Cool and weigh it.  Heat the dish again at 550 + 2 C for 30 min. cool in descicator and weigh.  Repeat until difference between two successive weighing is less than one milligram.  Record the lowest mass.

Ash % by mass = 100 (M2 - M)

(M1 - M)

M2 = weight of crucible with ash

M   = weight of empty crucible

M1 = weight of crucible with powder

Ash% on dry matter bases = Ash% by mass x 100

(100 - Moisture %)

- Bulk density

Materials required:- Bulk density meter, electronic weighing balance

#### Procedure:

Weigh 30 grams of powder in 100 ml cylinder.  Fix the cylinder in the frame of bulk density apparatus.  Switch on the apparatus.  The apparatus will take 30 strokes.  Note the volume of the powder in the cylinder.

Density =    Mass

Volume

- Insolubility index

Materials required: - Centrifuge tube, centrifuge, and silicone antifoaming agent

#### Procedure

Weigh 13 gm of WMP or 10 gm of SMP and reconstitute in 100 ml distilled water at 24 + 0.2 C.  Add 3 drops of silicon antifoaming agents and mix it thoroughly in the blender for 90 sec.  Further add 3 drops of silicone antifoaming agent to the mixture and mix thoroughly with spoon for 10 sec. pour the mixture into a centrifuge tube up to 50 ml. Mark. Place the centrifuge tube in the centrifuge and rotate it for 5 min. at 20-25 C.  Hold the centrifuge tube in a vertical position and remove supernatant liquid.  Add water up to 30 ml mark in a centrifuge tube.  Completely dispense the sediment with the stirring rod and make up the volume up to 50 ml mark invert the centrifuge tube 5 times to mix contents thoroughly.  Place the tubes in centrifuge and rotate it for 5 minutes at 20-25 C.  Remove the tube, hold in vertical position and read the volume of the sediment to nearest 0.05 ml and it denotes the insolubility index.

Adulteration detection tests

- Rosalic acid

Take 2 ml rosalic acid (0.05% in 60:40 alcohol + distilled water) in a test tube.  Add 2 ml of reconstituted powder.  Rose red color indicates neutralizer presence in powder

- Alcohol test

Take 2 ml of 68% alcohol in a test tube.  To it add 2 ml of reconstituted powder.  Presence of  flakes indicates alcohol positive and such powder is rejected.

- Maltose dextrin test

Take 20 ml of reconstituted milk sample.  Boil and coagulate the milk using 10% citric acid solution filter through what man’s filter paper No.-42 and collect the filtrate.  Add 3 drops of iodine solution to 5 ml filtrate and mix.

Chocolate brown color indicates the presence of maltodextrins

- Urea detection test

Take 2 ml milk in a test tube, add 2 ml DMAB solution and mix the contents.  Appearance of yellow color indicates the presence of urea making the milk unacceptable.

- WHITE BUTTER

White butter Specifications

| Fat % | 82.0 (Min) |
| --- | --- |
| Moisture % | 16 (Max) |
| Curd % | 1.5 (Max). |
| T.A. | 0.06% (Max.) |
| F.F.A | 0.5 (Max.) |
| B.R | 40-43 |

Sampling

On getting information from stores about white butter arrival follow as under:

Check the temperature of white butter from three different places i.e. front, middle and rear positions of the van.

Inform the temperature to assistant manager.  With the help of store staff keep 6 cartons possible of different batches, one carton after unloading 70 cartons from each van.  Take additional one carton for every additional 4 metric tons of white butter.  Note down the batch number, source and date of manufacture of all the cartons and also note the condition of packaging/packed material.

After opening the carton check for any visible mould growth/abnormality. With the help of butter trier/spatula take 2 or more plugs from different portions of white butter carton and transfer to bottle/polythene bag.  Similarly take white butter from other cartons chosen and make one composite sample for one van.  Also take one bacteriological sample from each van.

TESTS

- Fat, Moisture and Curd

Weigh a beaker previously dried in dessicator. Weigh 10 gm of butter (softened not oiled) in beaker and heat on a hot plate till foaming ceases and curd attains characteristic brown color. Allow it to cool in the dessicator. Weigh it (Z gm) and calculate the moisture.

Warm the beaker and add 50 ml of petroleum ether/petroleum spirit into it.  Mix well with a glass rod.  Allow curd portion to settle down. Decant fat portion carefully without disturbing curd portion.

Give 2 more washing with 30 ml petroleum ether.  Clean the beaker with cotton soaked in petroleum ether/petroleum spirit from outside.

Dry the beaker in hot air oven at 100 + 1 C for 30 minutes.  Cool the beaker in a desiccators to room temperature and weigh (w gm).

Calculate as follows:

Moisture % = Y - Z x 100

A

Curd           = W - X

A

Fat              = 100 - Moisture - Curd

X = weight of empty beaker

Y = weight of beaker with butter

Z = weight of beaker after removing moisture

W = weight of beaker with curd

A = weight of butter ( Y - X)

- Titrate able acidity

Materials required: 250 ml conical flask, measuring cylinder

N/50 NaOH, phenolphthalein indicator

Procedure:

Weigh accurately 20 gm of butter sample in 250 ml conical flask.  Add 90 ml of hot previously boiled water and shake the contents.  While still hot titrate with N/50 NaOH using 1 ml phenolphthalein indicator

### Calculation

Acidity% = 9 x V x N

W

Where V = volume of NaOH used

N = normality of NaOH

W = weigh in grams of sample taken

- Free Fatty Acids

Procedure: Melt the butter and prepare ghee out of it.  Weigh accurately 10 gram of ghee in 250 ml conical flask carefully. Add 50 ml of neutralized rectified spirit to it and heat to boiling.  Titrate against N/10 NaOH using phenolphthalein indicator.

### Calculation

Free fatty acids = V X 2.82

W

V = Volume of NaOH

W = Weight of sample taken

- Butyrorefractometer reading for butter ghee, butter oil etc:

Butyro refractometer reading using digital refractometer. Clean the prism of digital refractometer gently.  Check the brix value of glass-distilled water at 40 C.  It should be zero.  Dry the prism properly and put few drops of melted ghee and take reading in nDT at 40 C.  Instrument will show refractive index.  Convert refractive index reading in BR reading with the help of a chart.  After completion of work clean prism with rectified spirit, glass distilled water by using soft tissue paper.  Switch off the instrument after use.

- PANEER

Appearance: -Shall be clear and free from dirt, surface discoloration and insect's contamination.  It shall not have any free moisture.

Flavor: -It shall have pleasant odor and characteristic mild acid flavor

Texture; - It shall have a closely-knit smooth texture and spongy body.

Standards

| Moisture | Max.60 |
| --- | --- |
| Milk fat | Min.50(db) |
| T.A. | Max.0.5 |

Moisture

2 gm-shredded paneer is weighed in a dish. Mix with 4 ml hot distilled water with glass rod.  Wash off the particles on glass rod using 1 ml water. Mix the contents thoroughly.  Heat the dish at 102 + 1 C for 4 hrs.  Cool in dessicator. Weigh with cover on.  Replace for 30 min. again at 102 and 1 C.  Weigh.  Repeat till difference between successive weighing is less than 1 milligram.

Calculation:

Moisture %	=	100 (W1 - W2)

(W1 – W)

W1 = dish + sample before drying

W2 = dish + sample after drying

W   = Mass of empty dish

Fat 	-	Gerber’s Method

Reagents	-	Sulphuric acid (1.8 – 1.812 sg), Amyl Alcohol (0.85 as

Specific gravity)

Procedure:

- Take exactly 10 ml of Gerber’s Sulphuric acid in butyrometer

- Weigh accurately 1.69 Gms of shredded paneer and added in 10 ml Sulphuric acid.

- Add 1 ml amyl alcohol

- Make up the volume by distilled water

- Close the butyrometer with rubber stopper and mix the contents until completely digested.

- Centrifuge the butyrometer for 5 min. at 1000 rpm.

- Place in water bath.

- Read the fat column.

Acidity

Reagents:	N/10 NaOH and phenolphthalein indicator

Procedure

- Grind paneer pieces in mortar and pestle

- Weigh 2 gram of paneer sample in a conical flask

- Add 20 ml hot water slowly and mix properly using a glass rod

- Add 10 ml NaOH and 1 ml phenolphthalein indicator

- Titrate against N/10 HCl.  End point is disappearance of pink color.

### Calculation

Titrate able acidity % = (10 - Vol. Of HCl) x 0.9

2

- DAHI/MISHTI DOI

Color: -	Shall be white, uniform without showing any sign of visible foreign mater.

Body and Texture: -Should be firm solid and uniform with negligible whey separation

Flavor  It shall have a pleasant and cream acid taste.  It should be free from bitterness, saltiness or other off flavors.

Standard

| Fat % | (Min). | 4.6 |
| --- | --- | --- |
| TS% | Dahi | 15 |
|  | Misty Doe | 31% |
| TA | (Max). | 1.2 |

Fat Determination

Reagents: -	25% Ammonia, Gerber’s Sulphuric Acid, amyl alcohol.

To 100 gm of curd in a beaker add 5 ml of strong ammonia to the weighed sample and shake well to make it homogenous.  Pipette out 10.75 ml of well-mixed sample of dahi and transfer it to butyrometer containing 10 ml Sulphuric acid.  To this add 1 ml amyl alcohol.  Close the butyrometer with a rubber stopper, mix so as to digest the contents and centrifuge for 5 minutes.  Adjust the fat column and take reading.  Multiply the result with dilution factor (here 1/20) and add the same to the obtained result.

Acidity

Weigh accurately 10 gm of Dahl in 40 ml beaker.  To it add 20 ml distilled water and acidity can be determined using acidometer.

- LASSI

Color: -	White, uniform, without showing any sign of visible foreign matter.

Body & Texture: - Smooth and free from gas bubbles

Flavor: -	Pleasant and sweetish aroma.  It should be free from bitterness, saltiness or other off flavors.

Specifications

| Fat% | 3.1 (Min) |
| --- | --- |
| TS% | 20 (Min) |
| TA | 0.8 (Max) |

Incubation Test

PH variation	0.3 max

TA	-	0.02 max

Bulging Test  - Negative

i) Fat determination

#### Gerber’s Method

Carefully dispense 10 ml of Gerber’s Sulphuric acid in a butyrometer.  Pipette out 10.75 ml of lassie into it.  Add 1 ml of amyl alcohol.  Mix the contents well.  Centrifuge for 5 minutes.  Place in a water bath of 65 C and take the reading.

ii) Total Solids

Total solids can be determined using gravimetric method.  Same as  that of milk.

iii) Acidity

Weigh accurately 10 Gms of lassie in a 50 ml beaker.  Add about 30 ml distilled water.  Determine the acidity under the curd mode in the acidometer.

- FLAVOURED MILK

Appearance: -There should be no separation of fat or sedimentation.

Flavor: - It shall conform to the designated flavor.  It shall have no off flavors and visible sediment.

Specification:

| Cream plug | absent |
| --- | --- |
| Sediment | absent |
| Fat % | 1.5 Min |
| T.S. % | 17.2(Min.) |
| TA (as lactic Acid) | 0.17(Max). |

Incubation Test at 37 C

- pH variation of 7 days incubation max   -  0.3

- T.P (variation of 7 days incubation)	     - 0.02

- Bulging Test			       Negative

Fat Determination

- Take 10 ml Sulphuric Acid into a butyrometer by means of automatic measure

- Warm to 40 C and cool to 27 C

- Mix well

- Allow to stand for 3-4 minutes

- Transfer 10.75 ml of sample into butyrometer

- Add 1 ml amyl alcohol into butyrometer

- Close the butyrometer

-            Transfer to 65 + 2 C water bath for 5 min.

- Centrifuge the butyrometer for 4 min.

- Take out butyrometer into water bath for 65 + 2 C and allow the butyrometer to stand for not less than 3 minutes

- Take down the reading

Acidity

- Switch on the instrument

- System test will appear

- Wait for some time

- Check user method (3)

- Screen will show - recall method, store method, delete method

- Use recall method by putting cursor on it

- Press enter

- Select the program milk using the forward/backward key

- Press enter and the milk program will appear

- Put beaker having 10 gm of milk and 40 ml distilled water

- Stir using magnetic stirrer

- Dip the electrode and dispenser and press screen

- Acidity will come automatically on the screen

- After completion switch off the instrument

Total Solids

Gravimetric Method

Apparatus: Shallow flat bottom dishes of aluminum alloys, nickel, stainless steel, porcelain silica, 7-8 cm diameter, about 1.5 cm in height and provided with easily removable and closely fitting lids.

Procedure

-	Weigh accurately the clean dry empty dish with the lid, pipette into the dish about 5 ml of the prepared sample of milk and weigh quickly with the lid on the dish.

- Place the dish uncovered on a boiling water bath

- Keep the base of the dish horizontal to promote uniform drying and protect it from direct contact with the metal of water bath.

- After at least 30 min. remove the dish, wipe the bottom and transfer it to a well ventilated oven at 98 - 100 C placing the lid by the dish

- The dish shall not be placed near the walls of the oven

- After 3 hours cover the dish and immediately transfer to a desiccators

- Allow cooling for about 30 min and weigh

- Return the dish uncovered and the lid to the oven and heat for 1 hr.

- Return to the desiccators - cool and weigh as before

- Repeat if necessary until the loss of weight between successive weighing does not exceed 0.5 mg.  Note the lowest weight

TS (% by weight) = w x 100

W

w = weight in gram of residue after drying

W = weight in gram of prepared sample taken for test.

- BUTTER OIL

Specification

| Moisture % | 0.5 (Max.) |
| --- | --- |
| FFA | 0.3 (Max). |
| BR | 40-44 (Max). |
| Peroxide value | 0.8 (Max). |

Sampling

Select 4/5 drums possible of different batches from each truck; clean the dust and foreign matter from sampling point of the butter oil drum.  Note down the source, lot number and date of manufacture.  Record these in B.O. testing register.

Break open the seals with a hammer and open the drums using the opening tool.  Take a composite B.O. sample from all drums in sterilized glass bottle using a sterilized trier in case the butter oil is hard.    Melt at 40-45 C and mix before going for analysis.

Moisture

Clean the dish.  Dry in oven for 100 + 1 C for 1 hour.  Allow cooling to the room temperature in desiccators and weigh the dish. Weigh accurately 3-4 Gms of B.O. sample.  Place in water bath for 20 min. Transfer to over 100 + 1 C and keep for 90 minutes.  Allow the dish to cool in the desiccators and weigh.

Moisture = 100(W1-W2)/(W1-W)

W1	=	Weight of dish with butter oil before drying

W2 	=	Weight of dish with butter oil after drying

W	=	Weight of empty dish

Free Fatty Acids

Take 10 gm of butter oil in 250 ml conical flask .Add 50 ml neutralized rectified spirit and heat to boiling.  Titrate against N/10 NaOH using phenolphthalein indicator.

FFA = (V x 2.82)/W

V = Volume of NaOH, W = Weight of sample.

## Peroxide value

## Using Photo Electric Colorimeter

- Switch on the instrument

- Check the switch.  It should be at % T position.

- Put blanks  plastic cuvette inside the hole and close the lid.

- Set zero by rotating the Knob 'set zero' so that 0.00 comes on the screen

- Put the glass distilled water in glass cuvette and by rotating 'set 100 knob' and make the reading 100 on screen

- Change the switch from %T position top OD position and see that the filter should be at a number 5 i.e. 550nm.  Put the prepared fat blank in glass cuvette in place of glass distilled water and again set zero by rotating 'set zero' knob.

Put the reagent blank and note the OD of reagent blank check OD of the prepared test.  Subtract reagent value from the test samples and note the reading and then calculate the peroxide value as below.

Testing

Transfer with a warm pipette 0.5 gm of B.O. in a test tube.

Pipette 9.3 ml CHC13 and CH3OH solvent in a test tube.  Add 1 drop of NH4CNS and one drop of FeCI2 solution and mix well.  Make 2 blanks, one reagent blank containing no B.O. and the other a fat blank containing fat NH4CNS and no FeCl2 solution.   Mix well and keep the test tubes for 5 minutes and then measure optical density at a wavelength of 550 nm.

Calculate peroxide value

Peroxide value = mg. Of Fe/10 ml solution          							    Wt.Of Sample x 55.84

BR Value

Same as in butter.

TOTAL DISSOLVED SOLIDS IN WATER

TDS is found by using an EC-TDS analyzer at a temperature of 25 C.

Salient features

- Microprocessor based

- Menu driven user friendly

- Auto ranging

- Measures directly the electrical conductivity and total dissolved solids

- Can be used for both aqueous and non-aqueous solution.

Description

EC-TDS analyzer is a microprocessor based analytical instrument for easy and quick measurement of electrical conductivity in leg sample.

A constant AC potential is applied to segment of solution between platinum electrodes and the electrical resistance and through it the conductance is measure.  The platinum electrodes are coated with platinum black to increase the surface area and to reduce the polarizing resistance.

Similarly the TDS is also found out.

Principle of operation:

Solutions of electrolytes conduct the electric current by migration of ions under the influence of electric field following Ohms law as electrons in the metallic conductors.  Thus for an applied EMF, maintained a constant but exceeding the decomposition voltage of electrolyte. The current will vary inversely within the resistance or directly with the conductance of the solution.

The electrical conductance is a summation of contribution from all the ions present in the unit volume of the solutions and the velocities with which the ions move under the influence of the EMF.

The conductivity of the electrolyte is temperature dependent i.e. proportional to the temperatures rise at a rate of 2% per degree of most ions.

## Detection of Na and K content using flame photometer

Preparation of working solution and milk sample

Stock solution of 1000 ppm for Na.

Dissolve 1.9070 gm. KCl in 1 litre of glass-distilled water.

## Working solution

Take 1 ml of stock solution separately for Na and K in 100 ml volumetric flasks and make the volume to 100 ml by adding glass-distilled water.

Preparation of sample: - Take 0.5 ml of well mix sample in 50 ml volumetric flask and make volume to 50 ml by adding glass-distilled water.

Operational Procedure

Flame photometer is having 3 units

Compressor

Flame photometer burner

Digital FPM

- Connect all the three units as per instructions given by supplier

- Attach the cooking gas cylinder to the flame photometer carefully

- Switch on the compressor and adjust the pressure to 0.5 kg/cm2 by rotating air

Knob, which is fixed on photometer.

- Open the lid of the burner and release the cooking gas simultaneously and ignite

The burner and adjust the flame by rotating the knob till the clear blue zone

Flames come and close the lid of burner.

- Select the desired filter Na+ and K+ that is fixed on the left side of the flame

Photometer

- Switch on the digital FPM unit.  It will display some digits on screen.

- Adjust the zero by using the knob 'set zero' of the FPM unit.

- Put a beaker of glass-distilled water below the sip on tube of the flame photometer and again adjust zero.  After zero adjustments, remove the distilled water beaker.  Put the sip on tube in desired Na+ or K+ working solution and adjust 100% transmittance.  Adjust 100% by rotating set zero 'coarse knob'

Instrument is ready to use.  Put the prepared sample for analysis.  Before testing   the sample confirm that the required filter of Na+ or K+ is selected.  Reading on digital FPM corresponds to mg/100 ml of Na+ or K+ in milk.

MICROBIOLOGICAL ANALYSYS

1-LIQUID MILK

Purpose:

To test the liquid milk-

1) Standard Plate Count (SPC)

2) Coliform Count

Equipment used:

1) Laminar Air Flow

2) Sampling Bottle

3) Auto pipette with tips

4) Dilution Blank (9 ml or 99 ml)

5) Test Tube/Culture Tube

6) Plating Media

7) Durham’s Tubes

8) Petri Dish

9) Hot Air Oven

10) Autoclave

11) Incubator

12) Colony Counter

13) pH Strips

14) Refrigerator

Sterilization: Sterilize sampling and plating equipments whenever possible with dry heat in a hot air oven at 170°C for two hours. Sterilize the media and materials that are likely to be charred in dry oven, by autoclaving at 15 psi (127°C) for 20 minutes.

After sterilization all media should be stored in hygienic condition.

Collection of sample:

Milk sample received should be stored in refrigerator below 7°C till tested.

In- house sampling:

Silo: Apply cotton soaked in alcohol on the sampling cock to sterilize it. Allow approximately 2 lit. Of milk to flow out into a bucket then collect the sample in sterilized sample bottle.

Tanker (Incoming): Thrust a plug inside the tanker in different directions for at least 10-15 min. to mix the contents properly. Take the sample with sterilized dipper and transfer into a sterilized sample bottle.

Tanker (Dispatch): Take the sample with a sterile dipper from the top and transfer into a sample bottle.

Tanker (Return milk): Apply cotton soaked alcohol on the surface of delivery valve. Allow approximately two-liter quantity of milk to flow out into bucket then collect in sterilized bottle.

General Precautions:

a) Use only sterilized bottle to collect sample

b) Collect all samples aseptically.

c) Stoppers or lid of the bottles should not be removed from the bottles unless necessary.

d) Replace the stopper or lid immediately after the sample is obtained.

e) Do not fill the bottle more then three fourth of its capacity.

f) Clearly label each sample bottle indicating the source, date etc.

g) Keep the sample immediately in refrigerator below 7°C.

Composition And Preparation Of Media:

Plate Count Agar (Tryptone Glucose Yeast Agar) For S.P.C. :

Ingredients:

1) Tryptone                         5.0 Gms. / litre

2) Glucose (Dextrose)        1.0 Gms. / litre

3) Yeast Extract                  2.5 Gms. / litre

4) Agar                               15.0 Gms. / litre

5) Final pH                         7.0   ± (0.1)

Preparation: Suspend 23.5 gm of ready made Plate Count Agar in 1000 ml distilled water, add 6.5 gm NaCl, dissolve and adjust the pH 7. Boil to dissolve the medium completely and fill it in flask or bottles.

Sterilization: Sterilize by autoclaving at 15 lbs pressure for 20 minutes. At the time of use completely melt the media, then cool it in water bath set at 45°C.

Violet Red Bile Agar (VRBA) For coliform :

Ingredients:

1) Peptone                                                7.0 Gms/litre

2) Yeast                                                    3.0 Gms/litre

3) Lactose                                               10.0 Gms/litre

4) Agar                                                   15.0 Gms/litre

5) NaCl                                                     5.0 Gms/litre

6) Neutral Red                                        0.03 Gms/litre

7) Crystal Violet                                   0.003 Gms/litre

8) Final pH                                               7.4 (±0.1)

9) Bile Salt                                                1.5 Gms/litre

Preparation: Suspend 41.5 gm readymade violet red bile agar in 1000 ml distilled water.

Heat to boiling to dissolve agar completely. Do not boil for more than 5 minutes. Do not autoclave the media. Cool it in water bath set at 45°C before pouring in plates.

Brilliant Green Bile Broth-2% for PCT

Ingredients:

1) Ox Bile                                                 20.0 Gms/litre

2) Lactose                                                 10.0 Gms/litre

3) Peptone                                                 10.0 Gms/litre

4) Brilliant Green                                  0.0133 Gms/litre

5) Final pH                                                  7.2 (±0.2)

Preparation: Suspend 40 gm of readymade media in 1000 ml distilled water, warm slightly to dissolve completely. Adjust the pH 7.2 ±0.2 . Dispense 10 ml into culture tubes/test tubes with inverted Durham’s tube. Cap or plug the tubes.

Sterilization: Sterilize by autoclaving at 15 lbs. pressure for 20 minutes.

Preparation of Diluents:

Phosphate Buffer:

Preparation of stock phosphate buffer:

Dissolve 34 gm potassium di hydrogen phosphate in 500 ml distilled water. Adjust the pH7.2 with 1 N sodium hydroxide & make up to 1 liter volume with distilled water.

Preparation of batch dilution blank:

Take 1.25 ml stock phosphate buffer solution and make up it’s volume to 1 liter with distilled water. Fill it in dilution tubes or dilution bottles so that after sterilization each will contain 9 ml in dilution tube or 99 ml in dilution bottle.

Sterilize by autoclaving at 15 lbs. pressure for 20 minutes. After sterilization and before use, observe the volume of different diluents in each tube / bottle and discard those variations exceeding ±2 percent.

Selection of dilutions:

For routine testing select dilutions of sample so that colonies on at least one plate will be between 30 and 300.For unknown sample use two or more dilution.

Standard Plate Count Test:

Materials required:

1) Plating chamber

2) Petri plates

3) Plate count agar

4) Auto pipette with tips (1.0)/pipette 2.2 ml.

5) Dilution tubes containing 9 ml of batch phosphate buffer solution.

Procedure:

1-Transfer 1 ml of well mixed sample to 9 ml diluents (phosphate buffer solution).Mix

Well and transfer 1 ml of this suspension to second tube to make second dilution.

Similarly make third and fourth dilution as per requirement

2-Arrange the Petri plates for each dilution to be tested, mark them with sample no. and

Date.

3-Transfer 1 ml in each plate from respective dilution of sample being tested.

4-Melt the plate count agar, cool it about 45°C and pour 10 ml of this medium into the

Petri dishes. Mix the agar by rotating the plate.

5-Allow the agar to set, invert and incubate the plates at 37°C for 48 hours.

6-At the end of 48 hours remove the plate from the incubator and count the colonies.

7- Also prepare a control plate with 15 ml media for checking its sterility

Counting and Expression Of results:

Count the colonies grown in Petri plates. Count only those plates, which have 30 -300

colonies.

Computation:

Count the colonies developed in each plate for respective dilution.

Multiply colonies per plate by dilution used and report the arithmetic average as plate

count per milliter/gram.

Recording / Reporting Of Results:

Record and report the result as – Standard Plate Count/ml/gm--------

Or

SPC/ml/gm

.

Coliform Test for Milk:

Materials Required:

1) VRB Agar

2) Dilution Blanks (9 or 99)

3) Auto pipette with tips

4) Petri dishes

Procedure for Solid Media:

1-Transfer 1 ml of well mixed milk sample to 9 ml diluent and mix well to make first

dilution. If required make second dilution by transferring 1 ml of first dilution into 9 ml

diluent

2-Arrange two Petri plates for each sample; mark them with sample no. and date.

3-Transfer 1ml in each plate respective dilution of sample to be tested.

4-Add 10 to 15 ml of VRB agar, previously melted and cooled to about 45°C.

5-Mix the contents thoroughly by rotating the plates and allow the agar to solidify. Pour

additional about 5 ml of the over the surface of the solidified medium and allow to

Solidify again.

6-Invert plates and incubates the plates at 37° C for 18-24 hours.

Counting and Expression Of Results:

Count dark red colonies measuring at least 0.5 mm in diameter.

Computation: Count dark red with red precipitate colonies measuring at least 0.5 mm in

diameter in each plate for each dilution plated. Multiply colonies per plate by dilution

used and report the arithmetic average as coliform count---- / ml / gm of product.

Recording / Reporting Of Results:

Record and report the result as – Coliform Count / ml / gm of product.

Test For Coliform Bacteria By Liquid Media:

Materials Required:

1-Auto pipette with tips/pipettes of 2.2 ml.

2-Brilliant green bile broth 2 % in tube

Procedure:

Transfer 1 ml from first dilution of sample into Brilliant Green Bile Broth 2 % tube in

triplicate.

Incubate for 48 hours at 37 °C and observe for acid and gas production.

Production of gas and opacity in at least two tubes out of three constitutes the positive

presumptive test.

If PCT is positive and simultaneously typical colonies observed on solid media. This

confirms the presence of coliform in the sample. If required further confirmation may be

done using streak techniques on EMB agar or microscopically.

Assessing Sterility:

Materials: Swab tube, Cotton wool, 30 cm long SS wire, Phosphate Buffer/ Saline (0.9

% Sodium Chloride) and distilled water.

Swab Preparation: On metal wire formed into a loop at one end and a straight length of

300 mm, notched at the other end, wind non-absorbent cotton on the notched end of the

metal wire over a length of about 50 mm.Place the swab in 35 ml Phosphate Buffer

solution in a swab tube, plug with cotton and sterilize (autoclave at 15 lbs. for 20 min.).

Swab Sampling: Press the sterilized swab with rolling motion against the side of glass

tube removing excess liquid and take out of the tube.

Rub the swab with pressure back and forth over the area to be examined so that all parts

of the surface are treated twice and for the plain surface 900 cm squire area covered for

swabbing. To facilitate swabbing over required areas a thin guider (15×10 cm) may be

used for guidance

After scrubbing the required area return the swab to the solution in the tubes.

.             Allow the swab to be immersed in the liquid for 5 minutes and mix by swirling the

swab vigorously in the solution 5 or 6 times. Remove the swab by pressing against 	the side of the test tubes.

Swab Testing: Mix the solution thoroughly by rotating the tube between the palms of

the hands. Using 9 ml dilution blank prepare 1/10 or first dilution of the sample and

proceed as per standard plate count in duplicate plate and add 10 to 15 ml plate count

agar medium and incubate at 37° C for 48 hours

Computation:

Multiplication Factors for Sterility Count:

.

| Milk Plant |  | Ice Cream Plant |  | Vending Outlets |  |
| --- | --- | --- | --- | --- | --- |
| Equipment Name | Factor | Equipment Name | Factor | Equipment Name | Factor |
| Silo Surface | 300 | Aging tank Surface | 300 | OHT | 100 |
| Pipe Line Dairy (72mm) | 400 | Mixing Vat Surface | 300 | CIP Tank | 100 |
| Pipe Line (Filling) | 290 | Flavor Tank Surface | 300 | Side Tank | 100 |
| Tanker Valve (72 mm) | 400 | Aging Tank Valve | 770 | Pipe Line | 270 |
| Hose Pipe (35 mm) | 810 | Flavor Tank valve | 575 | Beaker (500 ml) | 2 |
| Tanker Inside | 300 | Pipe Line | 770 | Beaker (1000 ml) | 1 |

Disposal Of Used Media:

Sterilized all used Petri plates and PCT tubes with media after observation / counting by autoclaving at 15 psi for 20 minutes.

Cool plates and tubes. Collect all solid media in a polythene bags and disposed.

2 – MILK POWDER

Purpose: To test the milk powder and report the findings for –

      - SPC

      - Coliform Count

Equipment Used:

Equipment used are same as in liquid milk.

Sterilization:

Follow the same as in liquid milk.

Composition and preparation of media:

Follow the same as in liquid milk.

Collection of sample:

Using a sterilized spoon or spatula take the sample aseptically in sterilized bottle or polythene bag after removing top layer of the product. Transfer the sample as quickly as possible in sample container and close immediately.

Preparation of test sample:

Thoroughly mix the sample and aseptically weigh 11 gm milk powder sample into 99 ml sterilized diluents previously warmed up to 45 ±1°c to make first dilution. Shake the bottle gently to mix the content.

Transfer 1 ml of first dilution into tube containing 9 ml sterilized diluent to make second dilution.

Similarly prepare third and fourth dilution as per requirement.

Standard plate count:

Follow same procedure as for liquid milk.

Expression of result:

Express the result as -------SPC / gm of milk powder.

Coliform test:

Follow same procedure as for liquid milk.

Expression of result for coliform:

Express the result as the number of coliform count /0.1 gm of milk powder.

Disposal of used media:

Follow same procedure as for liquid milk

3-WHITE BUTTER

Purpose: To test the white butter and report the findings for-

1) Yeast and mould

2)  Coliform

Equipment used:

Equipment used are same as in liquid milk.

Sterilization:

Follow same as in liquid milk.

Collection of sample:

Using sterilized spatula remove the 5 mm surface layer of the product from sampling area using aseptic techniques and sterilized trier collect the sample in polythene or sterilized bottle.

Yeast mould count testing for butter:

Materials Required:

- Plating chamber

- Petri dishes

- Yeast Extract Chloramphenicol Agar / Potato Dextrose Agar

- Auto pipette with tips (1 ml) /2.2 ml glass pipettes

- Dilution tubes containing 9ml diluent and bottles with 99ml diluents

- Incubator set at 25±1°C.

Media:

Yeast Extract Chloramphenicol Agar

Ingredients:

Yeast extract                   :              5.0 gms/litre

Dextrose                         :              20.0 gms/litre

Chloramphenicol            :               0.1gms/litre

Agar                                :              13.0gms/litre

pH                                  :               6.6±(0.2)

Preparation: Suspend 40 gms ready made Yeast Extract Chloramphenicol Agar in 1000 ml distilled water. Boil to dissolve the medium completely. Fill in flask or bottles.

Potato Dextrose Agar

Ingredients:

Potato                 :                200gm/litre

Dextrose             :                  20gm/litre

Agar                    :                 15gm/litre

pH                      :                  3.5 (At the time of pouring in plate)

Preparation: Suspend 39 gm ready made media in 1000 ml distilled water. Boil to dissolve the medium completely. Fill in flasks or bottles.

Sterilization:

Sterilize by autoclaving at 15 lbs. pressure for 20 minutes.

At the time of use completely melt the media, then it to about 45°C before pouring in plates.

Preparation of test portion:

Soften butter and mix thoroughly and weigh aseptically 11 gm butter into 99 ml sterilized diluent previously warmed at about 45°C to make the first dilution.

Transfer 1ml of first dilution into tube containing 9ml sterilized diluent to make second dilution.

Similarly prepare third and fourth dilution as per requirement.

Procedure for testing:

1- Select two consecutive dilutions of sample to plate.

2- Arrange two Petri dishes for each dilution, mark them with sample no. ,date and dilution factor.

3- Transfer 1ml in each plate respective dilution of sample.

4- Melt the Chloramphenicol Agar, cool it to about 45°C and pour 10 to 15 ml into the Petri dishes. Mix the agar by rotating the plates.

5- Allow the to set, invert and incubate the plates at 25±1°C for 5 days. If  moulds grow fast and develop into large colonies plate may be incubated for three days only.

6- Count the no. of colonies grown in each plate and compute the results. Also prepare a control plate with 15 ml media for checking it’s sterility.

Counting and Computation of yeast and mould colonies to express results:

Counting: Count the colonies grown on two consecutive dilutions in Petri plates. Count only those plates which have 15 to 150 colonies.

Calculation for results: Calculate the no. (N) of yeast- mould/gm of butter using the following equation---

∑ C

N = ------------------d

(n1 + 0.1 n2 )

Where  C ------ Sum of colonies counted on all Petri plates (retained).

n 1------ Number of plates retained in first dilution.

n 2-------Number of plates retained in second dilution.

d---------Dilution factor corresponding to the first dilution.

Round of the result calculated to two significant figures. The result shall be expressed as a number between 1.0 and 9.9 multiplied by 10x, where x is the appropriate power of 10.

If there were no colonies on plates (from initial suspension in case of solid product and test sample in case of liquid product) the no. of yeast and mould per ml of product should be reported as less than 1.

Coliform Test:

Using first and second dilution, follow the same procedure as for liquid milk.

Express the count directly (second dilution) for per gram of sample.

Expression of result for coliform:

Express the results as the no. of coliform count / gm of butter.

Disposal of used media:

Follow the same procedure As for liquid milk.

PRODUCT SPECIFICATION

| S. No. | PRODUCT | Fat % (min.) | SNF% (min.) | Sugar% | T.S.% (min.) | T.A.% (min) | SHELF LIFE |  | BACTERIAL STD. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | DAYS | TEMP°C | SPC |  |  | COLI | Y/M |
| 01 | DAHI | 4.6 | - | - | 15.20 | 1.20 | 10 | 8 |  |  |  | 10 | 100 |
| 02 | MISHTI DOI | 4.6 | - | 16.0 | 31.20 | 1.10 | 10 | 8 |  |  |  | 10 | 100 |
| 03 | LASSI | 3.1 | - | 10.0 | 20.0 | 0.65 | 7 | 8 |  |  |  | 10 | 100 |
| 04 | PANEER | 50%of T.S. | - | - | 48.0 | 0.50 | 5 | 4 | 5 Lakh |  |  | 90 | 250 |
| 05 | TABLE BUTTER | 80.0 | - | 2.5* | - | 0.03 | 365 | 4 | - |  |  | 05 | 20 |
|  |  |  |  |  |  |  |  |  |  | 06 | FLAVOURED MILK |  |  |
| a) | KESAR ELAICHI | 1.6 | 9.1 | 8.5 | 19.20 | 0.135 | 21 | Room Temp. | - |  |  | - | - |
| b) | MILK MASALA | 1.6 | 9.1 | 7.5 | 18.20 | 0.135 | 21 | Room Temp. | - |  |  | - | - |
| c) | VANILLA | 1.6 | 9.1 | 7.0 | 17.70 | 0.135 | 21 | Room Temp. | - |  |  | - | - |
| d) | CHOCOLATE | 1.6 | 9.1 | 6.5 | 17.20 | 0.135 | 21 | Room Temp. | - |  |  | - | - |

*Maximum common Salt %